## Solar Maintenance Planner
This planner provides a semi‑annual cleaning schedule and annual inspection checklist with columns for due dates and notes. It includes warranty timelines for panels, inverters and batteries, space to record service provider contacts, insurance review reminders, and tasks such as roof inspection, app/monitoring check and removal‑reinstallation for roof projects. A notes tab summarizes that panels require only light cleaning and annual inspection inmyarea.com, that weather damage is rare and panels can be insured inmyarea.com, and that common service requests include roof replacements, storm damage, inverter failures and app issues elementalenergy.net.
How to Use This Planner
• Enter the date you last completed each task under "Last Completed". • The "Next Due Date" will automatically calculate when your next maintenance is due based on the frequency or warranty length. • Keep records of installer and warranty contacts in the "Contact / Warranty Info" column so you can quickly reach out when you need service. • Solar panels need minimal maintenance: light cleaning twice per year and an annual professional inspection [1]. • Panels are designed to withstand common weather conditions and may be covered by homeowners insurance [2]. • Many service issues happen when the original installer goes out of business; track installer and warranty contacts to avoid delays [3]. • Replace your roof if it’s more than 10 years old before installing solar [4]. • Monocrystalline solar panels typically carry a 25–30 year warranty [5].
Component/Task | Frequency | Last Completed | Next Due Date | Notes | Contact / Warranty Info
Panel cleaning | Every 6 months | 2024-03-20 | 2024-09-20 | Light cleaning removes dust/pollen [1]
System inspection | Annual | 2025-01-01 | 2026-01-01 | Professional inspection ensures optimal performance [1]
Inverter replacement | Every 10–15 years | 2024-01-01 | 2034-01-01 | Typical inverter life is ~10–15 years
Battery replacement (if any) | Every 10–15 years | 2024-07-04 | 2034-07-04 | Battery life depends on cycles
Roof inspection/replacement | As needed | 2023-11-23 |  | Replace roof if >10 years before installing solar [4]
Warranty – panels | 25–30 years | 2024-01-01 | 2049-01-01 | Monocrystalline panel warranty [5]
Warranty – inverter | 10–15 years | 2024-01-01 | 2034-01-01 | Typical inverter warranty
Production Output Tracker | Monthly | 2024-01-01 | 2024-02-01 | Log kWh from app, note dips
Inverter/App Firmware Update Check | Annual | 2024-01-01 | 2025-01-01 | Check manufacturer site/app for updates
Weather Damage & Storm Event Log | As needed | 2024-01-02 |  | Hail, hurricane, wind—inspect for damage
Net Meter/Utility Meter Reading | Quarterly | 2024-01-03 | 2024-04-03 | Compare readings to inverter/app for export accuracy
Shading/Vegetation Assessment | Annual | 2024-01-04 | 2025-01-04 | Note tree growth, trim as needed
Pest & Debris Inspection | Spring/Fall | 2024-01-05 | 2024-07-05 | Look for nests, wasps, debris under/around panels
Snow/Ice Removal Review | As needed | 2024-01-06 |  | Note snow events, document removal and any resulting issues
Main Service Panel/Disconnect Check | Annual | 2024-01-07 | 2025-01-07 | Inspect for corrosion, heat, labels | Electrician
Grounding & Bonding Check | 2–3 years | 2024-01-08 | 2027-01-08 | Ensure intact ground, test by pro if needed
'When to Call a Pro' Log | As needed | 2024-01-09 |  | Document error codes, burning smells, repeated shutdowns | Installer/Electrician
Warranty & Service Reminder Tracker | Ongoing | 2024-01-10 |  | List warranty expiries, schedule checks before expiry
Installer/Service Provider Log | Ongoing | 2024-01-11 |  | Company, contact, warranty claim #, service dates
Upgrade/Repair/Expansion History | As needed | 2024-01-12 |  | Record all upgrades/repairs, keep receipts
Insurance & Documentation Storage | Annual | 2024-01-13 | 2025-01-13 | Review/update insurance, attach receipts/warranty docs | Insurance agent
Annual Savings & Performance Report | Annual | 2024-01-14 | 2025-01-14 | Record total kWh/savings, compare to projections
Utility Bill Comparison | Quarterly | 2024-01-15 | 2024-04-15 | Compare bill vs. expected savings, investigate anomalies
Service Cost Log | As needed | 2024-01-16 |  | Record paid maintenance, note if warranty covers
Panel Serial Number & Layout Map | Install/Upgrade | 2024-01-17 |  | Record serials, sketch layout if possible
Critical Event Log | As needed | 2024-01-18 |  | Major outages, repeated resets, new shading events
Sources: | [1] | [2] | [3] | [4] | [5]
Formulas:
Next Due Date = IF([Last Completed]="","",IF(ISNUMBER(SEARCH("6",[Frequency])),EDATE([Last Completed],6),IF(ISNUMBER(SEARCH("Annual",[Frequency])),EDATE([Last Completed],12),IF(ISNUMBER(SEARCH("10",[Frequency])),EDATE([Last Completed],120),IF(ISNUMBER(SEARCH("25",[Frequency])),EDATE([Last Completed],300),"")))))